Document ID: EV-PACK-INDEX-2023-000

# Evidence Pack Index and OCR Routing Map

Facility-level index for document control and downstream extraction routing.

| Document ID | Document Type | Related Source | Period | Primary Fields for OCR / Extraction |
| --- | --- | --- | --- | --- |
| EV-INV-2023-001 | Equipment Inventory | Facility | Annual | Combustion unit master list, unit type, fuel type, max rated capacity |
| EV-NG-2023-001 | Natural Gas Utility Bill | Natural Gas Utility Meter | Jan 1, 2023 to Jan 31, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-002 | Natural Gas Utility Bill | Natural Gas Utility Meter | Feb 1, 2023 to Feb 28, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-003 | Natural Gas Utility Bill | Natural Gas Utility Meter | Mar 1, 2023 to Mar 31, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-004 | Natural Gas Utility Bill | Natural Gas Utility Meter | Apr 1, 2023 to Apr 30, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-005 | Natural Gas Utility Bill | Natural Gas Utility Meter | May 1, 2023 to May 31, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-006 | Natural Gas Utility Bill | Natural Gas Utility Meter | Jun 1, 2023 to Jun 30, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-007 | Natural Gas Utility Bill | Natural Gas Utility Meter | Jul 1, 2023 to Jul 31, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-008 | Natural Gas Utility Bill | Natural Gas Utility Meter | Aug 1, 2023 to Aug 31, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-009 | Natural Gas Utility Bill | Natural Gas Utility Meter | Sep 1, 2023 to Sep 30, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-010 | Natural Gas Utility Bill | Natural Gas Utility Meter | Oct 1, 2023 to Oct 31, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-011 | Natural Gas Utility Bill | Natural Gas Utility Meter | Nov 1, 2023 to Nov 30, 2023 | facility, service address, account, billing period, usage MMBtu |
| EV-NG-2023-012 | Natural Gas Utility Bill | Natural Gas Utility Meter | Dec 16, 2023 to Jan 15, 2024 | facility, service address, account, billing period, usage MMBtu |
| EV-BIO-2023-001 | BIO-001 Biogas Meter Log | BIO-001 | January | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-002 | BIO-001 Biogas Meter Log | BIO-001 | February | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-003 | BIO-001 Biogas Meter Log | BIO-001 | March | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-004 | BIO-001 Biogas Meter Log | BIO-001 | April | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-005 | BIO-001 Biogas Meter Log | BIO-001 | May | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-006 | BIO-001 Biogas Meter Log | BIO-001 | June | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-007 | BIO-001 Biogas Meter Log | BIO-001 | July | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-008 | BIO-001 Biogas Meter Log | BIO-001 | August | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-009 | BIO-001 Biogas Meter Log | BIO-001 | September | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-010 | BIO-001 Biogas Meter Log | BIO-001 | October | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-011 | BIO-001 Biogas Meter Log | BIO-001 | November | meter start scf, meter end scf, consumed scf |
| EV-BIO-2023-012 | BIO-001 Biogas Meter Log | BIO-001 | December | meter start scf, meter end scf, consumed scf |
| EV-BLR003-2023-001 | BLR-003 Boiler Fuel Record | BLR-003 | January | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-002 | BLR-003 Boiler Fuel Record | BLR-003 | February | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-003 | BLR-003 Boiler Fuel Record | BLR-003 | March | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-004 | BLR-003 Boiler Fuel Record | BLR-003 | April | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-005 | BLR-003 Boiler Fuel Record | BLR-003 | May | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-006 | BLR-003 Boiler Fuel Record | BLR-003 | June | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-007 | BLR-003 Boiler Fuel Record | BLR-003 | July | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-008 | BLR-003 Boiler Fuel Record | BLR-003 | August | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-009 | BLR-003 Boiler Fuel Record | BLR-003 | September | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-010 | BLR-003 Boiler Fuel Record | BLR-003 | October | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-011 | BLR-003 Boiler Fuel Record | BLR-003 | November | fuel type, quantity, unit, operator log details |
| EV-BLR003-2023-012 | BLR-003 Boiler Fuel Record | BLR-003 | December | fuel type, quantity, unit, operator log details |
| EV-LAB-2023-001 | Biomass Fuel Lab Analysis Report | BLR-003 | September 30, 2023 | sample date, fuel description, carbon content, HHV |
| EV-PROP-2023-001 | Propane Annual Purchase Record | DRY-001 | 2023 Annual | fuel type, gallons purchased, delivery summary |
| EV-DIESEL-2023-001 | Diesel Annual Purchase Record | GEN-001 | 2023 Annual | fuel type, gallons purchased, emergency generator designation |
| EV-AGG-2023-001 | Combustion Source Aggregation Worksheet | BLR-001, BLR-002, GEN-001 | 2023 Annual | group label, unit IDs, unit descriptions, fuel types |
| EV-RFO-2023-001 | Residual Fuel Oil Boiler Standby / No Fuel Use Statement | RFO-001 | 2023 Annual | unit ID, standby status, no residual fuel oil deliveries or combustion activity |

Document-control reminder: the evidence IDs above are for intake and traceability. They should be preserved in filenames and section headers during downstream processing.

Document ID: EV-INV-2023-001

# Combustion Equipment Inventory

Annual equipment list for facility stationary combustion sources.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Operator | Anheuser-Busch LLC | Reporting Year | January 1, 2023 through December 31, 2023 |
| Prepared By | Plant Utilities Department | Inventory Date | December 31, 2023 |

| Unit ID | Description | Fuel Type | Max Rated Capacity (MMBtu/hr) | Notes |
| --- | --- | --- | --- | --- |
| BLR-001 | Natural Gas Steam Boiler #1 | Natural Gas (pipeline) | 25 | Unit Type: Boiler. Primary production boiler. |
| BLR-002 | Natural Gas Steam Boiler #2 | Natural Gas (pipeline) | 20 | Unit Type: Boiler. Secondary production boiler. |
| BLR-003 | Steam Boiler #3 - Multi-Fuel | Natural Gas / Solid Biomass Residue | 18 | Unit Type: Boiler. Switches to solid biomass residue Aug-Sep. |
| DRY-001 | Propane Malt/Grain Dryer | Propane (LPG) | 300 | Unit Type: Process Heater. Batch kiln dryer - max rated nameplate capacity. |
| GEN-001 | Diesel Emergency Generator #1 | Diesel (No. 2 Distillate) | 2.5 | Unit Type: Reciprocating Internal Combustion Engine (RICE). Emergency use only. |
| BIO-001 | Onsite Wastewater Biogas Combustor | Biogas (non-pipeline) | 15 | Unit Type: Other. Anaerobic digestion - onsite wastewater. |
| RFO-001 | Residual Fuel Oil Boiler (Backup) | Residual Fuel Oil No. 6 | 60 | Unit Type: Boiler. Backup/seasonal use. |

Footnote: Pilot light emissions excluded per 40 CFR §98.30(d) - reporting not required for pilot lights.

Authorization

| Name / Title | Signature | Date |
| --- | --- | --- |
| Prepared by: M. Rivera, Environmental Compliance Coordinator | M. Rivera | 01/08/2024 |

Document ID: EV-NG-2023-001

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0001 |
| Service Period | Jan 1, 2023 to Jan 31, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,027,540 | 1,059,940 | 31 | 32,400 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 32,400 MMBtu | $6.1500/MMBtu | $199,260.00 |
| Transportation and delivery | 32,400 MMBtu | $0.4200/MMBtu | $13,608.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $6,598.91 |
| Total Current Charges |  |  | $219,791.91 |

Payment due date: 02/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-002

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0002 |
| Service Period | Feb 1, 2023 to Feb 28, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,059,940 | 1,090,940 | 28 | 31,000 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 31,000 MMBtu | $6.1500/MMBtu | $190,650.00 |
| Transportation and delivery | 31,000 MMBtu | $0.4200/MMBtu | $13,020.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $6,313.77 |
| Total Current Charges |  |  | $210,308.77 |

Payment due date: 03/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-003

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0003 |
| Service Period | Mar 1, 2023 to Mar 31, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,090,940 | 1,120,440 | 31 | 29,500 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 29,500 MMBtu | $6.1500/MMBtu | $181,425.00 |
| Transportation and delivery | 29,500 MMBtu | $0.4200/MMBtu | $12,390.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $6,008.27 |
| Total Current Charges |  |  | $200,148.27 |

Payment due date: 04/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-004

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0004 |
| Service Period | Apr 1, 2023 to Apr 30, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,120,440 | 1,145,740 | 30 | 25,300 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 25,300 MMBtu | $6.1500/MMBtu | $155,595.00 |
| Transportation and delivery | 25,300 MMBtu | $0.4200/MMBtu | $10,626.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $5,152.85 |
| Total Current Charges |  |  | $171,698.85 |

Payment due date: 05/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-005

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0005 |
| Service Period | May 1, 2023 to May 31, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,145,740 | 1,166,840 | 31 | 21,100 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 21,100 MMBtu | $6.1500/MMBtu | $129,765.00 |
| Transportation and delivery | 21,100 MMBtu | $0.4200/MMBtu | $8,862.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $4,297.44 |
| Total Current Charges |  |  | $143,249.44 |

Payment due date: 06/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-006

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0006 |
| Service Period | Jun 1, 2023 to Jun 30, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,166,840 | 1,185,140 | 30 | 18,300 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 18,300 MMBtu | $6.1500/MMBtu | $112,545.00 |
| Transportation and delivery | 18,300 MMBtu | $0.4200/MMBtu | $7,686.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $3,727.16 |
| Total Current Charges |  |  | $124,283.16 |

Payment due date: 07/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-007

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0007 |
| Service Period | Jul 1, 2023 to Jul 31, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,185,140 | 1,202,040 | 31 | 16,900 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 16,900 MMBtu | $6.1500/MMBtu | $103,935.00 |
| Transportation and delivery | 16,900 MMBtu | $0.4200/MMBtu | $7,098.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $3,442.02 |
| Total Current Charges |  |  | $114,800.02 |

Payment due date: 08/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-008

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0008 |
| Service Period | Aug 1, 2023 to Aug 31, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,202,040 | 1,220,340 | 31 | 18,300 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 18,300 MMBtu | $6.1500/MMBtu | $112,545.00 |
| Transportation and delivery | 18,300 MMBtu | $0.4200/MMBtu | $7,686.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $3,727.16 |
| Total Current Charges |  |  | $124,283.16 |

Payment due date: 09/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-009

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0009 |
| Service Period | Sep 1, 2023 to Sep 30, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,220,340 | 1,240,040 | 30 | 19,700 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 19,700 MMBtu | $6.1500/MMBtu | $121,155.00 |
| Transportation and delivery | 19,700 MMBtu | $0.4200/MMBtu | $8,274.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $4,012.30 |
| Total Current Charges |  |  | $133,766.30 |

Payment due date: 10/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-010

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0010 |
| Service Period | Oct 1, 2023 to Oct 31, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,240,040 | 1,521,040 | 31 | 281,000 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 281,000 MMBtu | $5.9800/MMBtu | $1,680,380.00 |
| Transportation and delivery | 281,000 MMBtu | $0.4200/MMBtu | $118,020.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $55,750.40 |
| Total Current Charges |  |  | $1,854,475.40 |

Payment due date: 11/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-011

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0011 |
| Service Period | Nov 1, 2023 to Nov 30, 2023 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,521,040 | 1,552,040 | 30 | 31,000 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 31,000 MMBtu | $6.1500/MMBtu | $190,650.00 |
| Transportation and delivery | 31,000 MMBtu | $0.4200/MMBtu | $13,020.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $6,313.77 |
| Total Current Charges |  |  | $210,308.77 |

Payment due date: 12/20/2023. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-NG-2023-012

# National Fuel Gas Company - Natural Gas Statement

Billing Statement for Anheuser-Busch Baldwinsville Brewery

| Customer | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Account Number | ACC-2023-BWV-001 | Bill Number | NFG-23-BWV-0012 |
| Service Period | Dec 16, 2023 to Jan 15, 2024 | Meter Serial Number | NFG-BWV-239871 |
| Rate / Tariff Class | Large Industrial Transport Service - LI-3 | Usage Unit | MMBtu |

Meter and Usage Detail

| Meter ID | Previous Read | Current Read | Billing Days | Usage | Unit |
| --- | --- | --- | --- | --- | --- |
| NFG-BWV-239871 | 1,552,040 | 1,584,840 | 31 | 32,800 | MMBtu |

Current Charges

| Charge Description | Quantity | Rate | Amount |
| --- | --- | --- | --- |
| Natural gas commodity | 32,800 MMBtu | $6.1500/MMBtu | $201,720.00 |
| Transportation and delivery | 32,800 MMBtu | $0.4200/MMBtu | $13,776.00 |
| Industrial service charge | 1 account | $325.00 | $325.00 |
| Taxes and local assessments | Calculated | 3.10% | $6,680.38 |
| Total Current Charges |  |  | $222,501.38 |

Payment due date: 02/20/2024. This statement reflects full billed volume for the service period shown above.

Customer service: 1-800-555-0198 | Industrial Accounts Desk | Syracuse District

Document ID: EV-BIO-2023-001

# BIO-001 Monthly Biogas Meter Log - January

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | January |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,000,000 | 1,082,000 | 82,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-002

# BIO-001 Monthly Biogas Meter Log - February

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | February |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,082,000 | 1,157,000 | 75,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-003

# BIO-001 Monthly Biogas Meter Log - March

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | March |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,157,000 | 1,240,000 | 83,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-004

# BIO-001 Monthly Biogas Meter Log - April

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | April |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,240,000 | 1,320,000 | 80,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-005

# BIO-001 Monthly Biogas Meter Log - May

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | May |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,320,000 | 1,400,000 | 80,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-006

# BIO-001 Monthly Biogas Meter Log - June

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | June |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,400,000 | 1,483,000 | 83,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-007

# BIO-001 Monthly Biogas Meter Log - July

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | July |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,483,000 | 1,568,000 | 85,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-008

# BIO-001 Monthly Biogas Meter Log - August

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | August |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,568,000 | 1,655,000 | 87,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-009

# BIO-001 Monthly Biogas Meter Log - September

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | September |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,655,000 | 1,740,000 | 85,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-010

# BIO-001 Monthly Biogas Meter Log - October

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | October |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,740,000 | 1,825,000 | 85,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-011

# BIO-001 Monthly Biogas Meter Log - November

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | November |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,825,000 | 1,908,000 | 83,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BIO-2023-012

# BIO-001 Monthly Biogas Meter Log - December

SCADA meter printout for onsite wastewater biogas combustor.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BIO-001 |
| --- | --- | --- | --- |
| System | Onsite Wastewater Biogas Combustor | Reporting Month | December |
| Meter Tag | BIO-FM-001 | Fuel Type | Biogas (non-pipeline) |

| Meter Read Start (scf) | Meter Read End (scf) | Volume Consumed (scf) | Operator Review |
| --- | --- | --- | --- |
| 1,908,000 | 1,990,000 | 82,000 | Initialed: J. Collins |

SCADA note: Monthly total pulled from flow integrator at 23:59 local time on the last day of the reporting month. Meter status normal.

Document ID: EV-BLR003-2023-001

# BLR-003 Monthly Fuel Consumption Record - January

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | January |
| Fuel Type | Natural Gas | Quantity / Unit | 12,000 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Jan 28, 2023 | Natural Gas | 12,000 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-002

# BLR-003 Monthly Fuel Consumption Record - February

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | February |
| Fuel Type | Natural Gas | Quantity / Unit | 11,500 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Feb 28, 2023 | Natural Gas | 11,500 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-003

# BLR-003 Monthly Fuel Consumption Record - March

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | March |
| Fuel Type | Natural Gas | Quantity / Unit | 11,000 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Mar 28, 2023 | Natural Gas | 11,000 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-004

# BLR-003 Monthly Fuel Consumption Record - April

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | April |
| Fuel Type | Natural Gas | Quantity / Unit | 9,400 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Apr 28, 2023 | Natural Gas | 9,400 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-005

# BLR-003 Monthly Fuel Consumption Record - May

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | May |
| Fuel Type | Natural Gas | Quantity / Unit | 7,800 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| May 28, 2023 | Natural Gas | 7,800 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-006

# BLR-003 Monthly Fuel Consumption Record - June

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | June |
| Fuel Type | Natural Gas | Quantity / Unit | 6,800 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Jun 28, 2023 | Natural Gas | 6,800 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-007

# BLR-003 Monthly Fuel Consumption Record - July

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | July |
| Fuel Type | Natural Gas | Quantity / Unit | 6,300 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Jul 28, 2023 | Natural Gas | 6,300 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-008

# BLR-003 Monthly Fuel Consumption Record - August

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | August |
| Fuel Type | Solid Biomass Residue | Quantity / Unit | 460 short tons |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Aug 28, 2023 | Solid Biomass Residue | 460 | short tons | Solid fuel delivery and consumption log reconciled to boiler run sheet. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-009

# BLR-003 Monthly Fuel Consumption Record - September

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | September |
| Fuel Type | Solid Biomass Residue | Quantity / Unit | 490 short tons |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Sep 28, 2023 | Solid Biomass Residue | 490 | short tons | Solid fuel delivery and consumption log reconciled to boiler run sheet. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-010

# BLR-003 Monthly Fuel Consumption Record - October

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | October |
| Fuel Type | Natural Gas | Quantity / Unit | 10,500 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Oct 28, 2023 | Natural Gas | 10,500 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-011

# BLR-003 Monthly Fuel Consumption Record - November

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | November |
| Fuel Type | Natural Gas | Quantity / Unit | 11,500 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Nov 28, 2023 | Natural Gas | 11,500 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-BLR003-2023-012

# BLR-003 Monthly Fuel Consumption Record - December

Internal boiler operations log and fuel-use summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Unit ID | BLR-003 |
| --- | --- | --- | --- |
| Equipment | Steam Boiler #3 - Multi-Fuel | Reporting Month | December |
| Fuel Type | Natural Gas | Quantity / Unit | 12,000 Mcf |

| Date Posted | Fuel Type | Quantity | Unit | Operations Note |
| --- | --- | --- | --- | --- |
| Dec 28, 2023 | Natural Gas | 12,000 | Mcf | Natural gas draw recorded from plant fuel-use allocation log. |

Operator certification: record reviewed against shift logs, meter records, and fuel receipts retained by Plant Utilities.

Document ID: EV-LAB-2023-001

# Empire State Analytical Services - Biomass Fuel Analysis Report

Solid biomass residue fuel analysis for BLR-003.

| Client | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Unit ID | BLR-003 | Sample Date | September 30, 2023 |
| Fuel Description | Solid Biomass Residue - spent grain/wood residue blend | Lab Report No. | ESA-23-0930-BWV-BIO |
| Lab Accreditation | ISO/IEC 17025, Certificate NY-48291 | Analyst | Dr. Lena M. Hart |

Analytical Results

| Parameter | Result | Unit | Method Reference | Quality Flag |
| --- | --- | --- | --- | --- |
| Carbon Content | 48.6 | % by weight, dry basis | ASTM D5373 modified | Pass |
| Higher Heating Value | 8.4 | MMBtu/short ton | ASTM D5865 modified | Pass |
| Moisture Content | 12.8 | % by weight | ASTM E871 | Pass |
| Ash Content | 5.9 | % by weight | ASTM D1102 | Pass |

Sample receipt condition: sealed composite bag received intact. Chain-of-custody form ESA-COC-2023-0930 attached to laboratory file. Results apply only to the submitted sample.

Authorization

| Name / Title | Signature | Date |
| --- | --- | --- |
| Certified by: Dr. Lena M. Hart, Senior Chemist | M. Rivera | 01/08/2024 |

Document ID: EV-PROP-2023-001

# Propane Annual Purchase Record - DRY-001

Annual purchase and delivery summary for Propane Malt/Grain Dryer.

| Supplier | Empire Propane & Industrial Fuels | Facility Name | Anheuser-Busch Baldwinsville Brewery |
| --- | --- | --- | --- |
| Service Address | 4797 River Road, Baldwinsville, NY 13027 | Unit ID | DRY-001 (Propane Malt/Grain Dryer) |
| Fuel Type | Propane (LPG) | Annual Quantity | 106,600 gallons |
| Account Reference | EPI-BWV-LPG-2023 | Reporting Year | 2023 |

| Quarter | Delivery Tickets | Gallons Delivered | Receiving Location |
| --- | --- | --- | --- |
| Q1 2023 | LPG-2301 to LPG-2318 | 28,700 | Malt/Grain Dryer LPG Tank |
| Q2 2023 | LPG-2319 to LPG-2334 | 24,300 | Malt/Grain Dryer LPG Tank |
| Q3 2023 | LPG-2335 to LPG-2352 | 25,900 | Malt/Grain Dryer LPG Tank |
| Q4 2023 | LPG-2353 to LPG-2370 | 27,700 | Malt/Grain Dryer LPG Tank |
| Annual Total |  | 106,600 |  |

Record prepared from supplier annual statement and receiving logs. Delivery tickets retained by Facilities Procurement.

Authorization

| Name / Title | Signature | Date |
| --- | --- | --- |
| Prepared by: M. Rivera, Environmental Compliance Coordinator | M. Rivera | 01/08/2024 |

Document ID: EV-DIESEL-2023-001

# Diesel Annual Purchase Record - GEN-001

Annual purchase summary for emergency-use reciprocating internal combustion engine.

| Supplier | Upstate Fuel Oil Services | Facility Name | Anheuser-Busch Baldwinsville Brewery |
| --- | --- | --- | --- |
| Service Address | 4797 River Road, Baldwinsville, NY 13027 | Unit ID | GEN-001 (Diesel Emergency Generator) |
| Fuel Type | Diesel (No. 2 Distillate) | Annual Quantity | 2,800 gallons |
| Account Reference | UFO-BWV-D2-2023 | Reporting Year | 2023 |

| Delivery Date | Ticket No. | Gallons Delivered | Tank / Equipment | Use Category |
| --- | --- | --- | --- | --- |
| 03/14/2023 | D2-23-0412 | 900 | GEN-001 day tank / bulk tank | Emergency standby |
| 07/21/2023 | D2-23-1187 | 850 | GEN-001 day tank / bulk tank | Emergency standby |
| 11/08/2023 | D2-23-1964 | 1,050 | GEN-001 day tank / bulk tank | Emergency standby |
| Annual Total |  | 2,800 |  |  |

Record prepared from supplier invoices and site receiving logs. Generator is maintained for emergency use only.

Authorization

| Name / Title | Signature | Date |
| --- | --- | --- |
| Prepared by: M. Rivera, Environmental Compliance Coordinator | M. Rivera | 01/08/2024 |

Document ID: EV-AGG-2023-001

# Combustion Source Aggregation Worksheet

Internal reporting worksheet for annual stationary combustion summary.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Operator | Anheuser-Busch LLC | Reporting Year | 2023 |
| Prepared By | Environmental Compliance Team | Workbook Tab Reference | Stationary Combustion Summary |

Aggregated Reporting Line Items

| Aggregated Line Item | Included Unit IDs | Source Descriptions | Fuel Types | Reporting Treatment |
| --- | --- | --- | --- | --- |
| Combustion Sources - Boilers and Generator | BLR-001, BLR-002, GEN-001 | Natural Gas Steam Boiler #1; Natural Gas Steam Boiler #2; Diesel Emergency Generator #1 | Natural Gas (pipeline); Diesel (No. 2 Distillate) | Combined into one annual stationary combustion line |
| Other Combustion Sources | BLR-003, DRY-001, BIO-001, RFO-001 | Multi-fuel boiler; Propane dryer; Biogas combustor; Backup residual fuel oil boiler | Natural Gas; Solid Biomass Residue; Propane; Biogas; Residual Fuel Oil | Reviewed separately in supporting records, including RFO-001 standby/no-fuel-use statement |

Prepared for internal annual reconciliation. Unit IDs and source descriptions are carried forward from the facility equipment inventory.

Authorization

| Name / Title | Signature | Date |
| --- | --- | --- |
| Prepared by: M. Rivera, Environmental Compliance Coordinator | M. Rivera | 01/08/2024 |

Document ID: EV-RFO-2023-001

# RFO-001 Standby / No Fuel Use Statement

Annual standby status confirmation for backup residual fuel oil combustion equipment.

| Facility Name | Anheuser-Busch Baldwinsville Brewery | Service Address | 4797 River Road, Baldwinsville, NY 13027 |
| --- | --- | --- | --- |
| Operator | Anheuser-Busch LLC | Reporting Year | January 1, 2023 through December 31, 2023 |
| Unit ID | RFO-001 | Equipment Description | Residual Fuel Oil Boiler (Backup) |
| Fuel Type | Residual Fuel Oil No. 6 | Operating Status | Standby backup equipment |
| Statement Date | January 8, 2024 | Prepared By | Plant Utilities Department |

Operations Statement: RFO-001 was maintained as backup equipment during the 2023 reporting year. Plant utilities records show no residual fuel oil deliveries, no residual fuel oil consumption, and no combustion activity for RFO-001 from January 1, 2023 through December 31, 2023.

Record Basis: Confirmation based on onsite fuel storage inspection logs, purchase records review, and boiler operations logs for the 2023 reporting year.

| Fuel Deliveries Recorded | Fuel Consumption Recorded | Combustion Hours Recorded | Annual Emissions Activity |
| --- | --- | --- | --- |
| 0 gallons | 0 gallons | 0 hours | No activity |

| Name / Title | Signature | Date |
| --- | --- | --- |
| Prepared by: M. Rivera, Environmental Compliance Coordinator | M. Rivera | 01/08/2024 |